## Interconnection Queue
Queue Pos. | Developer/Interconnection Customer | Project Name | Date of IR | SP (MW) | WP (MW) | Record Type | Type/ Fuel | Energy Storage Capability | Minimum_Duration Full Discharge | County | State | NYISO Zone | Points of Interconnection | Utility | Affected Transmission Owner (ATO) | Project Status # | Last Updated Date | Availability of Studies | IA Tender Date | CY/FS Complete Date | Proposed In-Service/Initial Backfeed Date | Proposed Sync Date | Proposed COD
0276 | Homer Solar Energy Center LLC | Homer Solar Energy Center | 2008-01-30 | 90 | 90 | Large Facility | S |  |  | Cortland | NY | C | Cortland - Fenner 115kV | NM-NG |  | 11 | 2026-05-31 | FES, SRIS, FS | 2021-02-08 | 2021-02-08 | 04-2028 | 04-2028 | 06-2028
0495 | Mohawk Solar LLC | Mohawk Solar | 2015-04-02 | 90.5 | 90.5 | Large Facility | S |  |  | Montgomery | NY | F | St. Johnsville - Marshville 115kV | NM-NG |  | 11 | 2025-09-30 | FES, SRIS, FS | 2021-02-08 | 2021-02-08 | 06/2027 | 10/2027 | 11/2027
0519 | Canisteo Wind Energy LLC | Canisteo Wind | 2015-11-02 | 290.7 | 290.7 | Large Facility | W |  |  | Steuben | NY | C | Bennett 115kV | NYSEG |  | 11 | 2025-03-31 | FES, SRIS, FS | 2021-02-08 | 2021-02-08 | 02-2028 | 02-2028 | 05-2028
0522 | NYC Energy LLC | NYC Energy | 2015-12-16 | 79.9 | 79.9 | Large Facility | ES | 319.6 | 4 | Kings | NY | J | Hudson Avenue East 138kV | ConEd |  | 12 | 2026-06-30 | FES, SRIS, FS | 2024-05-15 | 2024-12-16 | 05-2027 | 05-2027 | 06-2027
0535 | Riverhead Solar 2, LLC | Riverhead Solar 2 | 2016-02-23 | 36 | 36 | Large Facility | S |  |  | Suffolk | NY | K | Edwards 138kV | LIPA |  | 11 | 2024-09-30 | FES, SRIS, FS | 2021-02-08 | 2021-02-08 | 09-2027 | 12-2027 | 01-2028
NOTES: | ● The column labeled 'SP' refers to the maximum summer megawatt electrical output. The column labeled 'WP' refers to the maximum winter megawatt electrical output.

## Cluster Projects
Queue Pos. | Interconnection Customer Name | Project Name | Date of IR | SP (MW) | WP (MW) | Project Type | Type/ Fuel | Energy Storage Capability | Minimum_Duration Full Discharge | County | State | NYISO Zone | Points of Interconnection | Utility | Affected Transmission Owner (ATO) | Project Status # | Last Updated Date | Availability of Studies | IA Tender Date | Proposed In-Service/Initial Backfeed Date | Proposed Sync Date | Proposed COD
C24-003 | Vineyard Mid-Atlantic LLC | Vineyard Mid-Atlantic West | 2024-08-01 | 1321 | 1321 | A proposed new Generating Facility | OSW |  |  | Nassu | NY | K | East Garden City 345kV | NYPA | LIPA, Transco | 7 | 2025-11-30 |  |  | 1-2031 | 4-2031 | 8-2031
C24-004 | Palladium Storage LLC | Palladium Storage | 2024-08-01 | 140 | 140 | A proposed new Generating Facility | ES | 560 | 4 | Bronx | NY | J | Hell Gate Annex 138KV Substation | NYPA | ConEd | 7 | 2026-03-31 |  |  | 1-2029 | 3-2029 | 6-2029
C24-052-001 | Liberty Renewables Inc. | Hemlock Hollow Wind | 2024-08-01 | 95 | 95 | A proposed new Generating Facility | W |  |  | Cattaraugus | NY | A | Dugan - Homer Hill 115kV, Line #155 | NM-NG |  | 7 | 2026-02-28 |  |  | 07-2029 | 08-2029 | 09-2029
NOTES: | ● The column labeled 'SP' refers to the maximum summer megawatt electrical output. The column labeled 'WP' refers to the maximum winter megawatt electrical output.

## Load Projects
Queue Number | Developer Name | Project: Project Name | IR Submission Date | Peak MW load | End-Use | Record Type Name | Type/Fuel | County | State | NYISO Zone | Points of Interconnection | CTO/Utility | Affected Transmission Owner (ATO) | Project Status # | SIS Bundle | Last Updated Date | Availability of Studies | IA Tender Date | FS Completion Date | Proposed Initial Backfeed Date
205 | National Grid | Luther Forest | 2005-11-02 | 40 |  | Load Interconnection | L | Saratoga | NY | F | Round Lake 115kV | NM-NG |  | 14 |  | 2013-03-31 | SIS |  |  | I/S
849 | Somerset Operating Company, LLC | Somerset Load | 2019-05-21 | 250 |  | Load Interconnection | L | Niagara | NY | A | Kintigh 345kV | NYSEG |  | 14 |  | 2022-07-31 | SIS, FS |  |  | I/S
1465 | Digihost Technologies, Inc. | Digihost load | 2022-11-14 | 50.2 |  | Load Interconnection | L | Niagara | NY | A | Walck Rd. 115kV | NM-NG |  | 14 |  | 1900-01-13 | N/A |  |  | I/S
0359 | National Grid | Verizon - Project Oasis | 2010-12-20 | 75 |  | Load Interconnection | L | Niagara | NY | A | Somerset - Kintigh 345kV | NYSEG |  | 0 |  | 2011-02-28
1670 | Lake Mariner Data LLC | Lake Mariner Data II | 2024-01-23 | 250 | DAT-AI | Load Interconnection | L | Niagara | NY | A | Kintigh 345kV Substation | NYSEG |  | 6 | N/A | 2026-07-31 | SIS |  |  | 06-2025
1716 | DataBank Holdings, LLC | Orangeburg Expansion Phase 2 | 2024-08-05 | 30 |  | Load Interconnection | L | Orange | NY | G | Oak St 38kV substation | O&R |  | 0 |  | 2025-12-31 |  |  |  | 12-2027
1732 | TeraWulf Brookings LLC | Wulf Compute Data Center II | 2025-03-29 | 250 | DAT-AI | Load Interconnection | L | Niagara | NY | A | Kintigh 345kV sub-station | NYSEG | NYPA, NM-NG | 6 | 25-2 | 2026-01-31 |  |  |  | 12-2027
1741 | North East Data LLC | North East Data LLC Data Center | 2025-08-29 | 500 | DAT | Load Interconnection | L | Niagara | NY | A | 230kV lines 77 and 78 | NM-NG |  | 4 |  | 2026-08-31 |  |  |  | 05-2027
NOTES:

## Affected System Studies
Queue Pos. | Developer/Interconnection Customer | Project Name | Date of IR | SP (MW) | WP (MW) | Type/ Fuel | County | State | Zone | Points of Interconnection | Utility | Affected Transmission Owner (ATO) | NYISO Status | Last Updated Date | Availability of Studies | IA Tender Date | CY/FS Complete Date | Proposed In-Service/Initial Backfeed Date | Proposed Sync Date | Proposed COD
A01-703 | Parkway Generation Operating LLC | Bergen 230kV | 2025-09-26 | 35.61 | 35.61 | NG | Bergen | NJ |  | Bergen 230kV | PJM |  | 5 | 2025-09-30 |  |  |  | 2027-05-21

## In Service
Queue |  |  | Date | SP | WP | Type/ | Location |  | Z | Interconnection |  |  | Last Update | Availability | Proposed | Proposed
Pos. | Owner/Developer | Project Name | of IR | (MW) | (MW) | Fuel | County | State |  | Point | Utility | S |  | of Studies | In-Service | COD
0001 | Con Edison | Middletown Station | 1989-09-15 | N/A | N/A | AC | Orange County | NY | G | Coop Corn-Rock Tav Lines | NYPA | 14 | 2002-03-31 | None | I/S | N/A
0002 | Athens Gen Co./ PG&E | Athens Gen | 1998-04-27 | 1080 |  | NG | Athens | NY | F | Leeds-Pl.Val. 91 Line | NM-NG | 14 | 2004-05-31 | SRIS | I/S | N/A
0003 | PSEG Power NY | Bethlehem Energy Center | 1998-04-27 | 350 |  | NG | Albany | NY | F | Albany 115kV | NM-NG | 14 | 2005-07-31 | SRIS | I/S | N/A

## Withdrawn
Queue Pos. | Owner/Developer | Project Name | Date of IR | SP (MW) | WP (MW) | Type/ Fuel | County | State | Z | Interconnection Point | Utility | S | Last Update
0005 | Sithe Energies | Torne Valley Station | 1999-01-28 | 860 |  |  |  | NY |  | Ramapo | CONED | 0
0006 | Sunset Energy Fleet LLC | Sunset Energy Fleet | 1999-02-17 | 520 |  |  |  | NY |  | Gowanus | CONED | 0
0007 | American National Power | Ramapo Energy | 1999-02-23 | 1100 |  |  |  | NY |  | Ramapo | CONED | 0

## Cluster Projects-Withdrawn
Cluster Projects - Withdrawn, note all queue projects in this list may not have been validated
Queue Pos. | Owner/Developer | Project Name | Date of IR | SP (MW) | WP (MW) | Type/ Fuel | County | State | Z | Interconnection Point | Utility | S | Last Update
C24-001 | Vineyard Mid-Atlantic LLC | Vineyard Mid-Atlantic East | 2024-08-01 | 1187 | 1187 | W | Nassau | NY | K | Ruland Rd 345kV | NYPA | 0 | 2025-01-31
C24-002 | Atlantic Shores Offshore Wind Bight LLC | ATLANTIC SHORES OFFSHORE WIND PROJECT 4 | 2024-08-01 | 1400 | 1400 | W | Kings | NY | J | BROOKLYN CLEAN ENERGY HUB NORTH 345kV | ConEd | 0 | 2025-02-28