## Sheet1
|  |  | Bonneville Power Administration Interconnection Request Queue |  |  |  |  | 2026-10-21 04:00
Note: Requests with queue positions lower than 200 were submitted prior to adoption of LGIP/SGIP.
Please see the Comments for additional details.
Generator Interconnection technical study reports are available upon request to |  |  | studyrequest@bpa.gov
Info For Specific Request |  |  |  | Request Category | [6 empty] | Latest Request Info |  |  |  | MW info for request (Ix Svc and Nameplate) | [15 empty] | Reports
Request Number | Request Date | Project Name | Requestor | Connection Type | Interconnection Type | Surplus | Repower | Replacement | State | County | Comments | Status | Original Requested In-Service Date | Agreed To: (Blank=TBD) | Max Summer Interconnection Service MW | Max Winter Interconnection Service MW | Generator Type 1 | Fuel Source 1 | Nameplate MW1 | Generator Type 2 | Fuel Source 2 | Nameplate MW2 | Generator Type 3 | Fuel Source 3 | Nameplate MW3 | Nameplate MW Total | Station Load | Generating Facility Capacity | Related Transmission Request | Reason Not Completed | Feasibility Study | Phase 1 Cluster Study | System Impact Study | Phase 2 Cluster Study | Facilities Study | Point of Interconnection | Cluster
L0713 | 2026-10-09 11:18 | WPUD Sub 4 | Public Utility District No. 1 of Whatcom County | LL |  | FALSE |  |  |  | Whatcom |  | RECEIVED | 2028-10-14 | 2028-10-14 | 1 | 1 | Other | Other | 1 | [6 empty] | 1 |  |  |  | . | [5 empty] | Bellingham-Refinery 115 kV line
L0710 | 2026-10-08 09:47 | Lake Placid Phase 1 | Big Bend Electric Cooperative, Inc. | LL |  | FALSE |  |  |  | Adams |  | RECEIVED | 2029-01-02 | 2029-01-02 | 100 | 100 | Other | Other | 100 | [6 empty] | 100 |  |  |  | . | [5 empty] | Scooteney Tap to Midway-Benton No 1 115 kV line, Benton-Scooteney No 1 115 kV line, and/or Connell Tap to Benton Scooteney No 1 115 kV line
L0708 | 2026-08-27 15:34 | Lithium Mine Load 37 MW | Raft River Rural Electric Cooperative, Inc. | LL |  | FALSE | [5 empty] | WITHDRAWN | 2032-01-01 | 2032-01-01 | 37 | 37 | [9 empty] | 0 |  |  |  | . | [5 empty] | TBD
L0705 | 2026-08-06 08:31 | Open Range | Big Bend Electric Cooperative, Inc. | LL |  | FALSE |  |  |  | Adams |  | RECEIVED | 2030-01-31 | 2030-01-31 | 3300 | 3300 | Other | Other | 3300 | [6 empty] | 3300 |  |  |  | . | [5 empty] | Lower Monumental-Hanford No 1 Lower Monumental-Ashe No 1 Grand Coulee-Hanford No 1
G1097 | 2026-07-06 14:45 |  |  | GI | ERIS | FALSE |  |  | WA | Klickitat | 400 kW Solar, 979 kW BESS | STUDY | 2026-09-30 | 2026-09-30 | 1.4 | 1.4 | Energy Storage | Battery | 1 | Photovoltaic | Solar | 0.4 |  |  |  | 1.4 |  |  |  | . | [5 empty] | Goldendale Substation
L0706 | 2026-06-30 15:39 | Lakeview System Transfer | Surprise Valley Electrification Corporation | LL |  | FALSE |  |  | OR | Lake |  | BPA COMPLETED | 2027-06-30 | 2027-06-30 | 14 | 21 | Other | Other | 21 | [6 empty] | 21 |  |  |  | . | [5 empty] | PACW Line 61 (will be annexed by SVEC as well as Pac's Mile Hi Substation). New POD will be establshed.
G1093 | 2026-02-19 10:55 |  |  | GI | ERIS | FALSE |  |  | OR | Deschutes |  | CONST AGRMT EXE | 2026-06-01 | 2026-10-01 | 1 | 1 | Photovoltaic | Solar | 0.8 | [6 empty] | 0.8 |  |  |  | . | [5 empty] | Ponderosa-Pilot Butte No 1 230 kV line
L0587 | 2023-12-04 15:08 | Harrisburg Substation 115 kV-12.47 kV | Consumers Power, Inc. | LL |  | FALSE |  |  | OR | Linn |  | CONST AGRMT EXE | 2026-12-05 | 2030-12-05 | 14 | 14 | Other | Other | 14 | [6 empty] | 14 |  |  |  | . | [5 empty] | BPA's Harrisburg Substation
G0847 | 2023-02-24 11:44 |  |  | GI | ERIS | TRUE |  |  | WA | Columbia | Combined output not to exceed 150 MW | E&P EXECUTED | 2024-12-30 | 2027-08-01 | 0 | 0 | Photovoltaic | Solar | 150 | [6 empty] | 150 |  |  |  | . |  |  |  |  | Available | PSE's Phalen Gulch 230kV Substation
L0516 | 2022-03-01 08:13 | Boardman-Ione No. 1 69 kV Line Removal Project | Idaho Power Company | LL |  | FALSE |  |  | OR | Umatilla |  | E&P EXECUTED | 2025-02-19 | 2027-11-01 | 0 | 0 | Other | Other | 0 | [6 empty] | 0 |  |  |  | . | [5 empty] | BPA's Planned Longhorn Substation
G0481 | 2013-04-25 16:55 |  |  | GI | ERIS | FALSE |  |  | WA | Snohomish | Generator Nameplate Rating: 1.5 MW | DECOMMISSIONED | 2013-08-01 |  | 2 | 2 | Energy Storage | Battery | 2 | [6 empty] | 2 |  |  |  | . | [5 empty] | Snohomish PUD's 12 kV distribution system (Harbour Pointe circuit 12-2277)
G2 | 2000-06-23 | Goldendale Energy Center | Goldendale Energy Center, LLC | GI | Energy | FALSE |  |  | OR | klickitat | on-line | ENERGIZED | 2002-01-01 |  | 247 | 247 | Gas Turbine | Natural Gas | 247 | [6 empty] | 247 |  |  |  | . | [5 empty] | Harvalum 230 kV Substation
G1 | 2000-06-09 16:12 | PG and E Generation | PG&E Energy Services | GI | Energy | FALSE |  |  | OR | Umatilla |  | WITHDRAWN | 2000-06-09 |  | 581 | 581 | Gas Turbine | Natural Gas | 581 | [6 empty] | 581 |  |  |  | . | [5 empty] | McNary 230 kv Substation
G1091 | 2026-01-26 16:29 |  |  | GI | ERIS | FALSE |  |  | WA | Snohomish |  | STUDY COMPLETED | 2026-04-30 | 2026-04-30 | 1 | 1 | Photovoltaic | Solar | 0.2 | Energy Storage | Battery | 0.5 |  |  |  | 0.7 |  |  |  | . | [5 empty] | Quil Ceda Substation sits between BPA Murray and BPA Snohomish
G0524 | 2016-01-07 10:35 |  |  | GI | ERIS | FALSE |  |  | OR | Wasco |  | IA EXECUTED | 2018-12-31 | 2027-11-27 | 20 | 20 | Photovoltaic | Solar | 20 | [6 empty] | 20 |  |  |  | . | [5 empty] | Within 2 miles of Wasco Electric Coop's 69 kV Tygh Valley Substation (Tap or new substation)
L0578 | 2023-08-22 12:54 | PNW Metal Recycling | Public Utility District No. 1 of Cowlitz County | LL |  | FALSE |  |  | WA | Cowlitz |  | ENERGIZED | 2024-04-01 | 2023-09-11 | 6.8 | 6.8 | Other | Other | 6.8 | [6 empty] | 6.8 |  |  |  | . | [5 empty] | Cowlitz Substation
L0557 | 2023-04-13 16:21 | Drax | Public Utility District No. 1 of Cowlitz County | LL |  | FALSE |  |  | WA | Cowlitz |  | ENERGIZED | 2026-04-13 | 2024-02-05 | 16.3 | 16.3 | Other | Other | 16.3 | [6 empty] | 16.3 |  |  |  | . | [5 empty] | BPA's Cowlitz Substation.
L0552 | 2023-02-02 09:10 | NW Pipeline | Public Utility District No. 1 of Cowlitz County | LL |  | FALSE |  |  | WA | Cowlitz |  | ENERGIZED | 2026-02-02 | 2026-02-02 | 4.7 | 4.7 | Other | Other | 4.7 | [6 empty] | 4.7 |  |  |  | . | [5 empty] | BPA's Lexington 115 kV Substation
G1097 | 2026-07-06 14:45 |  |  | GI | ERIS | FALSE |  |  | WA | Klickitat | 400 kW Solar, 979 kW BESS | STUDY | 2026-09-30 | 2026-09-30 | 1.4 | 1.4 | Energy Storage | Battery | 1 | Photovoltaic | Solar | 0.4 |  |  |  | 1.4 |  |  |  | . | [5 empty] | Goldendale Substation
G1098 | 2026-07-06 14:45 |  |  | GI | ERIS | FALSE |  |  | WA | Klickitat | 400 kW Solar, 979 kW BESS | STUDY | 2026-09-30 | 2026-09-30 | 1.4 | 1.4 | Photovoltaic | Solar | 0.4 | Energy Storage | Battery | 1 |  |  |  | 1.4 |  |  |  | . | [5 empty] | Goldendale Substation
G1086 | 2025-08-29 07:28 |  |  | GI | ERIS | TRUE |  |  | WA | Columbia & Garfield |  | STUDY | 2029-06-29 | 2029-06-29 | 0 | 0 | Photovoltaic | Solar | 177 | Energy Storage | Battery | 182.3 |  |  |  | 359.3 |  |  |  | . | [5 empty] | Central Ferry Substation